## v1
Data transfer packet designed for BLE Packet Size
20 BYTE PER PACKET MAXIMUM
| BYTE # | [8 empty] | 4 SAMPLES PER PACKET
| 0 | S | A | M | P | L | E |  | #
| 1 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | R0
| 2 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | RED
| 3 | R0 | R0 | I0 | I0 | I0 | I0 | I0 | I0 | IR
| 4 | I0 | I0 | I0 | I0 | I0 | I0 | I0 | I0 | Sample #
| 5 | I0 | I0 | I0 | I0 | R1 | R1 | R1 | R1 | Temperature
| 6 | R1 | R1 | R1 | R1 | R1 | R1 | R1 | R1
| 7 | R1 | R1 | R1 | R1 | R1 | R1 | I1 | I1
| 8 | I1 | I1 | I1 | I1 | I1 | I1 | I1 | I1
| 9 | I1 | I1 | I1 | I1 | I1 | I1 | I1 | I1
| 10 | R2 | R2 | R2 | R2 | R2 | R2 | R2 | R2
| 11 | R2 | R2 | R2 | R2 | R2 | R2 | R2 | R2
| 12 | R2 | R2 | I2 | I2 | I2 | I2 | I2 | I2
| 13 | I2 | I2 | I2 | I2 | I2 | I2 | I2 | I2
| 14 | I2 | I2 | I2 | I2 | R3 | R3 | R3 | R3
| 15 | R3 | R3 | R3 | R3 | R3 | R3 | R3 | R3
| 16 | R3 | R3 | R3 | R3 | R3 | R3 | I3 | I3
| 17 | I3 | I3 | I3 | I3 | I3 | I3 | I3 | I3
| 18 | I3 | I3 | I3 | I3 | I3 | I3 | I3 | I3
| 19 | T | E | M | P | B | I | T | S

## v2
Data transfer packet designed for BLE Packet Size
20 BYTE PER PACKET MAXIMUM
| PPG packet | [9 empty] | ECG Packet
| 4 samples per packet | [9 empty] | 6 samples per packet
| Packet type: 00 | [9 empty] | Packet type: 01
| Packet # goes from 0 to 63 | [9 empty] | Packet # goes from 0 to 63
| @200 SPS: 1 packet every 20 ms (50 packets/sec; 64 packets=1.28 sec) | [9 empty] | @500 SPS: 1 packet every 12 ms (83.3 packets/sec' 64 packets=.768 sec)
| BYTE # | [9 empty] | BYTE #
| 0 | 0 | 0 | P | A | C | K | T | # |  | 0 | 0 | 1 | P | A | C | K | T | #
| 1 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | Packet type | 1 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | Packet type
| 2 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | Packet # | 2 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | Packet #
| 3 | R0 | R0 | I0 | I0 | I0 | I0 | I0 | I0 | RED | 3 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | ECG
| 4 | I0 | I0 | I0 | I0 | I0 | I0 | I0 | I0 | IR | 4 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | ECG
| 5 | I0 | I0 | I0 | I0 | R1 | R1 | R1 | R1 | Other | 5 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | Other
| 6 | R1 | R1 | R1 | R1 | R1 | R1 | R1 | R1 |  | 6 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | E1
| 7 | R1 | R1 | R1 | R1 | R1 | R1 | I1 | I1 |  | 7 | E2 | E2 | E2 | E2 | E2 | E2 | E2 | E2
| 8 | I1 | I1 | I1 | I1 | I1 | I1 | I1 | I1 |  | 8 | E2 | E2 | E2 | E2 | E2 | E2 | E2 | E2
| 9 | I1 | I1 | I1 | I1 | I1 | I1 | I1 | I1 |  | 9 | E2 | E2 | E2 | E2 | E2 | E2 | E2 | E2
| 10 | R2 | R2 | R2 | R2 | R2 | R2 | R2 | R2 |  | 10 | E3 | E3 | E3 | E3 | E3 | E3 | E3 | E3
| 11 | R2 | R2 | R2 | R2 | R2 | R2 | R2 | R2 |  | 11 | E3 | E3 | E3 | E3 | E3 | E3 | E3 | E3
| 12 | R2 | R2 | I2 | I2 | I2 | I2 | I2 | I2 |  | 12 | E3 | E3 | E3 | E3 | E3 | E3 | E3 | E3
| 13 | I2 | I2 | I2 | I2 | I2 | I2 | I2 | I2 |  | 13 | E4 | E4 | E4 | E4 | E4 | E4 | E4 | E4
| 14 | I2 | I2 | I2 | I2 | R3 | R3 | R3 | R3 |  | 14 | E4 | E4 | E4 | E4 | E4 | E4 | E4 | E4
| 15 | R3 | R3 | R3 | R3 | R3 | R3 | R3 | R3 |  | 15 | E4 | E4 | E4 | E4 | E4 | E4 | E4 | E4
| 16 | R3 | R3 | R3 | R3 | R3 | R3 | I3 | I3 |  | 16 | E5 | E5 | E5 | E5 | E5 | E5 | E5 | E5
| 17 | I3 | I3 | I3 | I3 | I3 | I3 | I3 | I3 |  | 17 | E5 | E5 | E5 | E5 | E5 | E5 | E5 | E5
| 18 | I3 | I3 | I3 | I3 | I3 | I3 | I3 | I3 |  | 18 | E5 | E5 | E5 | E5 | E5 | E5 | E5 | E5
| 19 | O | T | H | E | R | - | - | - |  | 19 | O | T | H | E | R | - | - | -
| Packet # | "OTHER" bits: | [8 empty] | Packet # | "OTHER" bits:
| 0 | P | K | T | # | - | U | P | P |  | 0 | P | C | K | T | # | M | I | D
| 1 | E | R |  | 18 |  | B | I | T |  | 1 | P | C | K | T | # | U | P | P
| 2 | E | S | S | P | S | - | L | O |  | 2 | S | P | S | - | - | U | P | P
| 3 | W | E | R | 14 | B | I | T | S |  | 3 | S | P | S | - | - | L | O | W
| 4 | H | R | - | A | V | G | - | - |  | 4
| 5 | S | p | O | 2 | - | A | V | G |  | 5
| 6 | [9 empty] | 6
| 7 | [9 empty] | 7
| 8 | P | E | A | K | L | O | C | A |  | 8
| 9 | T | I | O | N | & | H | R | A |  | 9
| 10 | T | E | & | S | P | O | 2 | - |  | 10
| 11 | [9 empty] | 11
| 12 | [9 empty] | 12
| 13 | [9 empty] | 13
| 14 | [9 empty] | 14
| 15 | [9 empty] | 15
| 16 | P | E | A | K | L | O | C | A |  | 16
| 17 | T | I | O | N | & | H | R | A |  | 17
| 18 | T | E | & | S | P | O | 2 | - |  | 18
| 19 | [9 empty] | 19
| 20 | T | E | M | P | I | N | T |  |  | 20
| 21 | T | E | M | P | F | R | A | C |  | 21
| 22 | [9 empty] | 22
| 23 | [9 empty] | 23
| 24 | P | E | A | K | L | O | C | A |  | 24
| 25 | T | I | O | N | & | H | R | A |  | 25
| 26 | T | E | & | S | P | O | 2 | - |  | 26
| 27 | [9 empty] | 27
| 28 | [9 empty] | 28
| 29 | [9 empty] | 29
| 30 | [9 empty] | 30
| 31 | [9 empty] | 31
| 32 | P | E | A | K | L | O | C | A |  | 32
| 33 | T | I | O | N | & | H | R | A |  | 33
| 34 | T | E | & | S | P | O | 2 | - |  | 34
| 35 | [9 empty] | 35
| 36 | [9 empty] | 36
| 37 | [9 empty] | 37
| 38 | [9 empty] | 38
| 39 | [9 empty] | 39
| 40 | P | E | A | K | L | O | C | A |  | 40
| 41 | T | I | O | N | & | H | R | A |  | 41
| 42 | T | E | & | S | P | O | 2 | - |  | 42
| 43 | [9 empty] | 43
| 44 | [9 empty] | 44
| 45 | [9 empty] | 45
| 46 | [9 empty] | 46
| 47 | [9 empty] | 47
| 48 | P | E | A | K | L | O | C | A |  | 48
| 49 | T | I | O | N | & | H | R | A |  | 49
| 50 | T | E | & | S | P | O | 2 | - |  | 50
| 51 | [9 empty] | 51
| 52 | [9 empty] | 52
| 53 | [9 empty] | 53
| 54 | [9 empty] | 54
| 55 | [9 empty] | 55
| 56 | P | E | A | K | L | O | C | A |  | 56
| 57 | T | I | O | N | & | H | R | A |  | 57
| 58 | T | E | & | S | P | O | 2 | - |  | 58
| 59 | [9 empty] | 59
| 60 | [9 empty] | 60
| 61 | [9 empty] | 61
| 62 | [9 empty] | 62
| 63 | [9 empty] | 63
What is this?
|  | P | E | A | K | L | O | C | A
|  | T | I | O | N | & | H | R | A
|  | T | E | & | S | P | O | 2 | -
Answer:
|  | tf | P | A | R | T | of | P | A
|  | C | K | T | # | Sa | mp | # | I
|  | N | S | T |  | H | R
| tf: | tf: 1 if there's a valid peak location in these three byte 19's; otherwise 0
| PoP# | tf: The lowest 11 bits of the packet number.
| samp# | tf: The specific sample number within the packet where the peak was
| inst HR | tf: The instantaneous heart rate for this peak, in BPM

## v3
Data transfer packet designed for BLE Packet Size
20 BYTE PER PACKET MAXIMUM
| PPG waveform packet (MAX_WFM) | [9 empty] | ECG waveform packet (ADS_WFM)
| 4 samples per packet | [9 empty] | 6 samples per packet
| Packet type: 00 | [9 empty] | Packet type: 10
| Packet # goes from 0 to 16383 | [9 empty] | Packet # goes from 0 to 16383
| @200 SPS: 1 packet every 20 ms (50 packets/sec; 16384 packets=327 sec) | [9 empty] | @500 SPS: 1 packet every 12 ms (83.3 packets/sec; 16384 packets=196 sec)
| BYTE # | [9 empty] | BYTE #
| 0 | 0 | 0 | P | A | C | K | T | # | Packet type | 0 | 1 | 0 | P | A | C | K | T | # | Packet type
| 1 | # | # | # | # | # | # | # | # | 14 LSB of Pkt # | 1 | # | # | # | # | # | # | # | # | Packet #
| 2 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | RED | 2 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | ECG
| 3 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | R0 | IR | 3 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | ECG
| 4 | R0 | R0 | I0 | I0 | I0 | I0 | I0 | I0 |  | 4 | E0 | E0 | E0 | E0 | E0 | E0 | E0 | E0
| 5 | I0 | I0 | I0 | I0 | I0 | I0 | I0 | I0 |  | 5 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | E1
| 6 | I0 | I0 | I0 | I0 | R1 | R1 | R1 | R1 |  | 6 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | E1
| 7 | R1 | R1 | R1 | R1 | R1 | R1 | R1 | R1 |  | 7 | E1 | E1 | E1 | E1 | E1 | E1 | E1 | E1
| 8 | R1 | R1 | R1 | R1 | R1 | R1 | I1 | I1 |  | 8 | E2 | E2 | E2 | E2 | E2 | E2 | E2 | E2
| 9 | I1 | I1 | I1 | I1 | I1 | I1 | I1 | I1 |  | 9 | E2 | E2 | E2 | E2 | E2 | E2 | E2 | E2
| 10 | I1 | I1 | I1 | I1 | I1 | I1 | I1 | I1 |  | 10 | E2 | E2 | E2 | E2 | E2 | E2 | E2 | E2
| 11 | R2 | R2 | R2 | R2 | R2 | R2 | R2 | R2 |  | 11 | E3 | E3 | E3 | E3 | E3 | E3 | E3 | E3
| 12 | R2 | R2 | R2 | R2 | R2 | R2 | R2 | R2 |  | 12 | E3 | E3 | E3 | E3 | E3 | E3 | E3 | E3
| 13 | R2 | R2 | I2 | I2 | I2 | I2 | I2 | I2 |  | 13 | E3 | E3 | E3 | E3 | E3 | E3 | E3 | E3
| 14 | I2 | I2 | I2 | I2 | I2 | I2 | I2 | I2 |  | 14 | E4 | E4 | E4 | E4 | E4 | E4 | E4 | E4
| 15 | I2 | I2 | I2 | I2 | R3 | R3 | R3 | R3 |  | 15 | E4 | E4 | E4 | E4 | E4 | E4 | E4 | E4
| 16 | R3 | R3 | R3 | R3 | R3 | R3 | R3 | R3 |  | 16 | E4 | E4 | E4 | E4 | E4 | E4 | E4 | E4
| 17 | R3 | R3 | R3 | R3 | R3 | R3 | I3 | I3 |  | 17 | E5 | E5 | E5 | E5 | E5 | E5 | E5 | E5
| 18 | I3 | I3 | I3 | I3 | I3 | I3 | I3 | I3 |  | 18 | E5 | E5 | E5 | E5 | E5 | E5 | E5 | E5
| 19 | I3 | I3 | I3 | I3 | I3 | I3 | I3 | I3 |  | 19 | E5 | E5 | E5 | E5 | E5 | E5 | E5 | E5
| PPG auxiliary data packet (MAX_AUX) | [9 empty] | ECG auxiliary data packet (ADS_AUX)
| Packet type: 01 | [9 empty] | Packet type: 11
| rpt=0 form is sent every 64 MAX_WFM packets | [9 empty] | Packet fires off whenever there is data to send
rpt=1 form is/are sent right after rpt=0 form if there are >6 peaks in the buffer
| BYTE # | [9 empty] | BYTE #
| 0 | 0 | 1 | rpt | # | peaks |  |  |  | Packet type | 0 | 1 | 1
| 1 | 24-bit reference packet number,>>6 | [7 empty] | Repeat? | 1
| 2 | [8 empty] | # of peaks in pkt | 2
| 3 |  |  |  | peak 0 |  |  |  |  | Reference pkt # | 3
| 4 | [8 empty] | peak data | 4
| 5 |  |  |  | peak 1 |  |  |  |  | peak data | 5
| 6 | [9 empty] | 6
| 7 |  |  |  | peak 3 | [5 empty] | 7
| 8 | [9 empty] | 8
| 9 |  |  |  | peak 4 | [5 empty] | 9
| 10 | [9 empty] | 10
| 11 |  |  |  | peak 5 | [5 empty] | 11
| 12 | [9 empty] | 12
| 13 |  |  |  | peak 6 | [5 empty] | 13
| 14 | [9 empty] | 14
15
| if rpt=0 | [9 empty] | 16
| 15 |  |  | empty |  |  |  | hrv | spv | heart rate valid? | 17
| 16 |  |  |  | heart rate |  |  |  |  | SpO2 valid? | 18
| 17 |  |  |  | SpO2 |  |  |  |  | heart rate | 19
| 18 |  |  |  | temperature integer |  |  |  |  | SpO2
| 19 |  |  |  | temperature fraction |  |  |  |  | temperature integer
temperature fraction
if rpt=1
| 15 |  |  |  | peak 7
16
17
| 18 |  |  |  | empty
19
what is in a peak?
peak 0
Answer:
|  | Part | of | P | K | T | # | samp | #
|  | I | N | S | T |  | H | R
| PoP# | The lowest 6 bits of the MAX_WFM packet number which contains the peak.
| samp# | The specific sample number within the packet where the peak was
| inst HR | The instantaneous heart rate for this peak, in BPM